Cryogenic Band Pass Filter

P/N: QMC-CRYOBPF-0812

This filter is designed for cryogenic and room temperature operation. Constructed out of high quality gold plated OFHC Copper for cryogenic use down to 10 mK.

- High out of Band Rejection		    Low Insertion Loss

- Compact design  			    Cryogenic functionality

| Parameter | Specification | Notes |
| --- | --- | --- |
| Pass Band | 8 to 12 GHz |  |
| 20 dB Rejection | 4.6 GHz & 18.3 GHz |  |
| Insertion Loss | 1.85 dB |  |
| Return Loss | 15 dB |  |
| Connectors In/Out | SMA (F/M) |  |
| Housing Material | OFHC Cu / Gold Plated |  |

Measured Data

Outline Drawing